| Person 1 | Person 2 |
| --- | --- |
| - Switch on the OPM system - load previous tuning and start the tuning of the MEG system (this will take long) | Welcome your participant, consent form, and go to the changing room. |
| - Save tuning and start the MEG acquisition setting (setting, preparation, subject…). Remember to turn off internal active shielding (IAS) when recording with OPM. Save preparation. - Connect to the OPM system, re-start and localize the sensors - Do an empty room recording with both OPM and MEG systems. | Prepare your participant: - Place EEG cap - Place electrodes EOG/ECG electrodes and check impedance. - Attach HPI coils. - Fill EEG electrodes and check impedance (maybe Person 1 can help you). - Load preparation. - Digitize fiducials, HPI coils, EEG electrodes and head shape. - Save preparation. |
| - After digitization is saved, load the last preparation in MEG. - Turn off OPM sensors. Open the door and prepare your subject inside the room. | - Open the door and prepare your subject inside the room. |
| if you start with OPM: - Seat the participant, connect HPI connector in OPM and EEG in MEG. connect the electrodes. - Push the participant and push OPM sensors in. - Give alarm bubble. - Give the participants whatever stimulation instruments are necessary for your experiment (for example earplugs, eye tracker, buttons…). - Screen and focus. - Camera. - Give instructions and close the door. | if you start with OPM: - Seat the participant, connect HPI connector in OPM and EEG in MEG. connect the electrodes. - Push the participant and push OPM sensors in. - Give alarm bubble. - Give the participants whatever stimulation instruments are necessary for your experiment (for example earplugs, eye tracker, buttons…). - Screen and focus. - Camera. - Give instructions and close the door. |
| - In the OPM system, re-start and localize sensors again. You can check sensors’ localization (both the ones that are on and the ones that are off) with the plot_sensors_3D_vtk. - Do an HPI pre-recording. When finished, run the check_HPI and prepare for your next recording. - In the MEG system, load your EEG settings (IAS should be off). | - Talk to your participant, check that they can hear you and vice versa. Check their comfort and tell them what is happening. - Prepare your experiment in presentation (check if you want to change something in the code) and explain what kind of task the participant needs to do. |
| - Start the recording in both systems and monitor data. In the MEG system remember to select “record raw” and “average” (if needed). - Lab notes and monitor kss. - Save everything. | - Start your experiment and monitor progress. |
| if you now want to Switch to MEG, turn off the OPM sensors and open the door: - Push out some OPM sensors, lower the participant out of the helmet and remove the helmet (taking great care not to pull any cables). - Push the chair to the MEG system and push in the participant. - Change HPI connector to MEG. - Screen and focus. - Camera. - Give instructions and close the door. | if you now want to Switch to MEG, turn off the OPM sensors and open the door: - Push out some OPM sensors and push out the participant. - Push the chair to the MEG system and push in the participant. - Change HPI connector to MEG. - Screen and focus. - Camera. - Give instructions and close the door. |
| - In the MEG system, load your EEG and MEG settings (IAS should be on). | - Talk to your participant. - Prepare your experiment in presentation (check if you want to change something in the code) and explain what kind of task the participant needs to do. |
| - Start the recording in the MEG system and monitor data. Remember to select “record raw”, “average” and “cHPI”. - Lab notes and monitor kss - Save everything. | - Start your experiment and monitor progress. |
| Finish everything and go inside the room. - Lower the participant out of the system - Disconnect and return electrode cables and alarm bubble. - Throw disposable EOG and ECG electrodes. Remove HPI coils and cap from the participant. - Let participant into changing room. - Clean HPI coils and put them back into the cart. Clean the cap. - Clean the room and put the OPM helmet either inside the cabinet with sensors pushed in, or back in the chair with sensors pushed out. - Throw clothes into laundry bin. | Finish everything and go inside the room. - Lower the participant out of the system - Disconnect and return electrode cables and alarm bubble. - Throw disposable EOG and ECG electrodes. Remove HPI coils and cap from the participant. - Let participant into changing room. - Clean HPI coils and put them back into the cart. Clean the cap. - Clean the room and put the OPM helmet either inside the cabinet with sensors pushed in, or back in the chair with sensors pushed out. - Throw clothes into laundry bin. |

PERSON 1

- STEP 1

  - Switch on the OPM system

  - load previous tuning and start the tuning of the MEG system (this will take long)

- STEP 2

  - Save tuning and start the MEG acquisition setting (setting, preparation, subject…). Remember to turn off internal active shielding (IAS) when recording with OPM. Save preparation.

  - Connect to the OPM system, re-start and localize the sensors.

  - Do an empty room recording with both OPM and MEG systems.

- STEP 3

  - After digitization is saved, load the last preparation in MEG.

  - Turn off OPM sensors. Open the door and prepare your subject inside the room.

- STEP 4. If you start with OPM:

  - Seat the participant, connect HPI connector in OPM and EEG in MEG. connect the electrodes.

  - Push the participant and push OPM sensors in.

  - Give alarm bubble.

  - Give the participants whatever stimulation instruments are necessary for your experiment (for example earplugs, eye tracker, buttons…).

  - Screen and focus.

  - Camera.

  - Give instructions and close the door.

- STEP 5

  - In the OPM system, re-start and localize sensors again. You can check sensors’ localization (both the ones that are on and the ones that are off) with the plot_sensors_3D_vtk.

  - Do an HPI pre-recording. When finished,  run the check_HPI and prepare for your next recording.

  - In the MEG system, load your EEG settings (IAS should be off).

- STEP 6

  - Start the recording in both systems and monitor data. In the MEG system remember to select “record raw” and “average” (if needed).

  - Lab notes and monitor kss.

  - Save everything.

- STEP 7: if you now want to Switch to MEG, turn off the OPM sensors and open the door:

  - Push out some OPM sensors, lower the participant out of the helmet and remove the helmet (taking great care not to pull any cables).

  - Push the chair to the MEG system and push in the participant.

  - Change HPI connector to MEG.

  - Screen and focus.

  - Camera.

  - Give instructions and close the door.

- STEP 8:

  - In the MEG system, load your EEG and MEG settings (IAS should be on).

- STEP 9

  - Start the recording in the MEG system and monitor data. Remember to select “record raw”, “average” and “cHPI”.

  - Lab notes and monitor kss.

  - Save everything and do the rest of the tasks.

- STEP 10:

  - Finish everything and go inside the room.

  - Lower the participant out of the system

  - Disconnect and return electrode cables and alarm bubble.

  - Throw disposable EOG and ECG electrodes. Remove HPI coils and cap from the participant.

  - Let participant into changing room.

  - Clean HPI coils and put them back into the cart. Clean the cap.

  - Clean the room and put the OPM helmet either inside the cabinet with sensors pushed in, or back in the chair with sensors pushed out.

  - Throw clothes into laundry bin.

PERSON 2

- STEP 1

  - Welcome your participant, consent form, and go to the changing room.

- STEP 2. Prepare your participant

  - Place EEG cap

  - Place electrodes EOG/ECG electrodes and check impedance.

  - Attach HPI coils.

  - Fill EEG electrodes and check impedance (maybe Person 1 can help you).

  - Load preparation.

  - Digitize fiducials, HPI coils, EEG electrodes and head shape.

  - Save preparation.

- STEP 3

  - Open the door and prepare your subject inside the room.

- STEP 4. If you start with OPM:

  - Seat the participant, connect HPI connector in OPM and EEG in MEG. connect the electrodes.

  - Push the participant and push OPM sensors in.

  - Give alarm bubble.

  - Give the participants whatever stimulation instruments are necessary for your experiment (for example earplugs, eye tracker, buttons…).

  - Screen and focus.

  - Camera.

  - Give instructions and close the door.

- STEP 5

  - Talk to your participant, check that they can hear you and vice versa. Check their comfort and tell them what is happening.

  - Prepare your experiment in presentation (check if you want to change something in the code) and explain what kind of task the participant needs to do.

- STEP 6

  - Start your experiment and monitor progress.

- STEP 7: if you now want to Switch to MEG, turn off the OPM sensors and open the door:

  - Push out some OPM sensors, lower the participant out of the helmet and remove the helmet (taking great care not to pull any cables).

  - Push the chair to the MEG system and push in the participant.

  - Change HPI connector to MEG.

  - Screen and focus.

  - Camera.

  - Give instructions and close the door.

- STEP 8:

  - Talk to your participant.

  - Prepare your experiment in presentation (check if you want to change something in the code) and explain what kind of task the participant needs to do.

- STEP 9

  - Start your experiment and monitor progress.

- STEP 10:

  - Lower the participant out of the system

  - Disconnect and return electrode cables and alarm bubble.

  - Throw disposable EOG and ECG electrodes. Remove HPI coils and cap from the participant.

  - Let participant into changing room.

  - Clean HPI coils and put them back into the cart. Clean the cap.

  - Clean the room and put the OPM helmet either inside the cabinet with sensors pushed in, or back in the chair with sensors pushed out.

  - Throw clothes into laundry bin.